## Summary
uid | field | comment | comment2 | comment3 | comment4
| Credit | This case is created by Xiaoge Huang based on the book "Power System Dynamics and Stability" by Sauer, Pai and Chow
| Edits | Ths case is modified by Hantao Cui to use a base of 100 MVA to produce the same per-unit result as in the book
| How | Essentially, the power base of all devices are converted to 100 MVA.

## Bus
uid | idx | u | name | Vn | vmax | vmin | v0 | a0 | xcoord | ycoord | area | zone | owner
0 | 1 | 1 | 1 | 110 | 1.5 | 0.5 | 1.1 | 0 | 0 | 0 | 1 | 1 | 1
1 | 2 | 1 | 2 | 110 | 1.5 | 0.5 | 1 | 0 | 0 | 0 | 1 | 1 | 1
2 | 3 | 1 | 3 | 110 | 1.5 | 0.5 | 0.9 | 0 | 0 | 0 | 1 | 1 | 1

## PQ
uid | idx | u | name | bus | Vn | p0 | q0 | vmax | vmin | owner
0 | PQ_1 | 1 | PQ 1 | 3 | 110 | 0.9 | 0 | 1.5 | 0.5 | 1

## PV
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | ra | xs
0 | PV_1 | 1 | PV 1 | 100 | 110 | 1 |  | 1.05 | 0 | 1.5 | -1 | 1 | -999 | 1.05 | 1.5 | 0.5 | 1e-08 | 0.3

## Toggler
uid | idx | u | name | model | dev | t
0 | Toggler_1 | 1 | Toggler_1 | Line | Line_2 | 2
1 | Toggler_2 | 1 | Toggler_2 | Line | Line_3 | 2

## Slack
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | ra | xs | a0
0 | Slack_1 | 1 | Slack 1 | 100 | 110 | 2 |  | 1 | 0 | 1 | -1 | 1 | -1 | 1 | 1.5 | 0.5 | 1e-08 | 0.3 | 0

## Line
uid | idx | u | name | bus1 | bus2 | Sn | fn | Vn1 | Vn2 | r | x | b | g | b1 | g1 | b2 | g2 | trans | tap | phi | owner | xcoord | ycoord
0 | Line_1 | 1 | Line 1 | 1 | 3 | 100 | 60 | 110 | 110 | 0 | 0.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1 | Line_2 | 1 | Line 2 | 2 | 3 | 100 | 60 | 110 | 110 | 0 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
2 | Line_3 | 1 | Line 3 | 2 | 3 | 100 | 60 | 110 | 110 | 0 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0

## Area
uid | idx | u | name
0 | 1 | 1 | AREA1

## GENROU
uid | idx | u | name | bus | gen | coi | coi2 | Sn | Vn | fn | D | M | ra | xl | xd1 | kp | kw | S10 | S12 | gammap | gammaq | xd | xq | xd2 | xq1 | xq2 | Td10 | Td20 | Tq10 | Tq20
0 | GENROU_1 | 1 | GENROU 1 | 1 | PV_1 |  |  | 100 | 110 | 60 | 1 | 5.7512 | 1e-08 | 0.15 | 0.245 | 0 | 0 | 0 | 0 | 1 | 1 | 1.8 | 1.75 | 0.23 | 0.8 | 0.23 | 6.5 | 0.06 | 0.2 | 0.05
1 | GENROU_2 | 1 | GENROU 2 | 2 | Slack_1 |  |  | 1000000000 | 110 | 60 | 2 | 6 | 1e-08 | 1e-08 | 0.01 | 0 | 0 | 0 | 0 | 1 | 1 | 1.8 | 1.75 | 0.28 | 0.8 | 0.28 | 6.5 | 0.06 | 0.2 | 0.05

## IEESGO
uid | idx | u | name | syn | Tn | wref0 | T1 | T2 | T3 | T4 | K1 | PMAX | PMIN
0 | IEESGO_1 | 1 | IEESGO_1 | GENROU_1 |  | 1 | 1 | 1 | 1 | 1 | 8